Physically based retrieval

- An optimal estimation approach

  - Uses radiative transfer simulation and statistics to get an optimal estimation

- The use of other Met data from other sources can be integrated and used.

- Different from what is being used at Koln and from the manufacturer retrieval

  - Doesn’t use any data for training, uses a priori

- Used for HATPRO and other remote sensing instruments looking at the troposphere

- In development by Dave Turner at NOAA

- Used by Meteoswiss (Eric Sauvageat)

  - Who look at using modelled profiles (ECMWF IFS data) to provide to the software

- Find out more about that the defult prior is

- Find out how to use a user-given prior

- Using 18th – 21st – found by Hannah Schreiber when evaluating the ICON 500 that there is no spatial impact on this date range when changing model grids – so can take these days kolsass launches to represent our instrument on the roof

- Radiosonde launch availability

  - How many soundings do we have collocated with a HATPRO

  - And how many HATPROs do we have

  - How many do we have with a sounding going up at the same hour

  - In all previous campaigns to TEAMx

    - Precampaign

    - CROSSINN

    - PIANO

    - Nightime 10 year avail

    - 2013 3 days (used by Massaro)

  - How many were distributed through the day

  - Do we have a ‘minimum’ amount of daytime launches to proceed?

  - How does Hannah do the RMSE in her thesis? check