Meeting with Dave Turner 09/12/25

Bianca Adler

- College at NOAA

- Also good at TROPoe in mountainous regions

Operation and Research

- Leads to options in a research mode – good for our use purposes

HATPRO bias correction

ManorTM

- radiative transfer model

- creates bias

- this can be corrected

- Rose and Crahs (?) – an alternative being added for Koln

Mountain impact

- Leading to how to determine the bias

- Use radiosondes?

- Or Observation-background in models?

We incorporate the new info –

We will be able to see the covariances

Container

- VIP

  - What am I actually doing

- Prior

  - Inside the container

  - So I don’t need to worry about that

  - You can use your own prior file

  - We can specialise this in a research context

- MWR

  - Scan initially off

  - Focus on the zenith first

  - Need to provide cloud base height

    - Can either make a guess

    - Or provide a ceilometer file

    - Or a doppler lidar file

    - There is a script that exists that can do that for the doppler lidar

- IRS type

  - -1, turn it off

Github link to be provided

Provode our data

- Data from the HATPRO

- Data to make a complete netcdf

  - Do we have this?

  - Ask Bernhard

  - Or ask dave to provide

Follow up emails

I have attached a tarfile that contains an example that hopefully will really help you understand the TROPoe algorithm and how to configure it.  Here are several points:

- Please use TROPoe.v0.20 (you will need to download this from DockerHub)

- The run_tropoe_ops.sh script is how you execute the code. I've placed this script in the tarfile also.  After you untar the file in a working directory, you call the execution script like this:

run_tropoe_ops.sh 20251201 /data/tropoe/hatpro/vip.txt prior.MIDLAT.nc 0 24 1 ${PWD} ${PWD} davidturner53/tropoe:v0.20

run_tropoe_ops.sh 20251201 /data/tropoe/hatpro/vip.txt prior.MIDLAT.nc 0 24 1 ${PWD} ${PWD} davidturner53/tropoe:v0.20

C:\Users\c7071147\Documents\TROPoe_run

- I am only using the zenith pointing HATPRO data for this example.

- I am using the in-situ met data that is included within the HATPRO data file

- You will note that I am performing the retrieval at 30-min resolution.  I did this because this particular MWR was doing a lot of elevation and azimuth scanning, and that is the time resolution of the zenith observations.

I've also attached the output (stdOut) that came from the retrieval as it ran.  Hopefully this helps you get TROPoe running on your computer!

Please let me know how it goes, and we can arrange another call for next week for further discussions (if you like).

Thanks,

Dave

TO ASK:

- Updated user manual mentioned: good to have

- Is output manually copied from command line after, or is a file written somewhere? (I Couldn’t find this anywhere)

- Github link once mentioned so we could look at what the code does

- TROPoe sucsessfully runs this demo version from you!

  - I get slightly different output cf. the file provided with the example output… Is this expected? Is this a cause for concern

  - Also the processing time was significant;y less on my end: 184 seconds cf. 766 seconds – maybe something missing here